Please Note:

This template is intended for educational purposes only, without any express or implied warranty of any kind, including warranties of accuracy, completeness, or fitness for any particular purpose.  You agree that your use of the template is without any recourse whatsoever to PG&E, SCE, SDG&E, or their affiliates. The template is a draft, and anyone using this document should seek the advice of an attorney to develop appropriate ordinance language to meet its jurisdiction’s specific needs, as state and local laws may differ.

Please contact the Codes and Standards Reach Codes Team at info@LocalEnergyCodes.com for additional information.

This program is funded by California utility customers and administered by Pacific Gas and Electric Company, San Diego Gas & Electric Company (SDG&E®), and Southern California Edison Company under the auspices of the California Public Utilities Commission and in support of the California Energy Commission.

# 2022 Single Family FlexPath Model Reach Code 
for Existing Buildings

Version 1.3

May 24, 2024

## Changes from Prior Versions

Please check LocalEnergyCodes.com to obtain the latest version of this document and supporting materials.  This document will be updated frequently to comport with new features in the Cost Effectiveness Explorer.

Changes since Version 1.0:

- Modified definition of Covered Project to specifically exclude buildings built after 2011.

- Clarified the Exception 1 to 150.0(w).

- Clarified options for electric readiness and PV.

- Modified electric readiness for EVs to refer to CALGreen A4.108.8.1.

- Corrected Lighting Measure name in Table 150.0-J

- Added instructions on options for handling vintages.

- Added option to reduce attic insulation R value in milder climates.

- Modified window requirement to upgrade 50% of the windows, as opposed to all.

- Clarified cool roof replacement exception.

- Enumerated required findings.

- Eliminated explicit exception for all-electric buildings, but such buildings would most likely already meet the requirements.

- Modified measure list and specifications based on study update.

- Modified structure of electric readiness requirements for certain scopes.

- Modified the scope of the optional CARE/FERA exception.

Clarified several exceptions.

## Scope

- All single family buildings that undergo certain improvements must include a set of energy efficiency, renewable energy and/or electrification measures that meet a specified energy-savings target.

- The energy savings target is expressed as a score and individual measures are assigned points weighted by site-energy savings.  The target and points are specific to each climate zone and building vintage.

- Electric-readiness is required for certain project scopes.

- There are various exceptions.

Companion Materials

Additional resources to support this model ordinance are available at localenergycodes.com.  These include the following:

- Slide Deck

- FAQs

- Application Checklist

- Air Sealing Checklist

- Exceptions Form

- State Submittal Guidance

- Cost Effectiveness Explorer

## Introduction

This model ordinance language supports a reach code requiring stricter energy performance for major projects in existing single family homes. Of the many available policy options to encourage or require decarbonization in existing single family homes, local governments may wish to consider adopting a reach code that could be triggered by different events including additions, significant renovations or time of listing. Alternatively, an ordinance could set a schedule to require that certain upgrades are completed by a “date-certain”.

Because there are so many variables within existing homes, it is difficult to prescribe a comprehensive set of cost-effective measures applicable to a wide variety of projects.  Accordingly, a performance pathway is proposed, which would establish a target score and a menu of individual measures with points weighted by site energy savings.  Applicants would select a set of measures that meet or exceed the target.  Local jurisdictions could adjust how comprehensive the requirements are by adjusting the score.  The advantages of this approach are that it offers flexible compliance options, places a high value on electrification measures, and is grounded in bill-payer cost-effectiveness.  Note, this is one of several possible policy approaches, including, for example, a replace-on-burnout policy; it is not intended to capture all opportunities.

Based on the  2022 Cost-effectiveness Study: Existing Single Family Building Upgrades the Cost-Effectiveness Explorer produces a target metric that represents a user-defined fraction of the total site energy savings for all cost-effective retrofit measures – the Target Score. The Explorer also produces a table of all available measures, including those that are not cost-effective, that are weighted using the same site energy metric.  Using these values, specific to each climate zone and home vintage, an applicant may install any combination of efficiency, solar and electrification measures that meet or exceed the target value.

As proposed below, such an ordinance could be structured to amend Title 24, Part 6, Section 150.0 to require compliance as part of a defined project scope. The intent is to target medium-sized projects that are not otherwise subject to more comprehensive requirements under the State Energy Code.  The amendment includes a table with the targets and points available for each measure and home vintage. It also includes specifications for each measure and exceptions. Compliance could be supported by an addendum to the Certificate of Compliance and building inspector verification. The ordinance could also include mandatory electric-readiness measures.

The study supports separate target scores for three different vintages, all of which are pre-2011.  While it is possible to specify different requirements for each of the vintages, a jurisdiction may wish to simplify the requirements to address the predominant vintage(s) in the community.  For example, if most of the housing was constructed before 1978, it may be most appropriate to only apply the requirements to older buildings and set the target score based on that vintage. Similarly, if most of the stock is newer, the ordinance could apply to all pre-2011 homes and set the target score based on the latest vintage.

Amendments to the State Code appear in strikeouts (deletions) and underlines (additions). Such amendments require that the governing body of the local jurisdiction make express findings and cite the authorities used to adopt the ordinance. These vary depending upon the part of the code that is being modified. Refer to the Guide for Local Amendments to Building Standards for more information.  In addition to the requirements specified in the Guide, the California Energy Commission requires that the findings include a statement to the effect that the local governmental agency’s governing body, has at a public meeting, adopted its determination that the standards are cost-effective.

Amendments to the Energy Code (Title 24, Part 6) must be approved by the California Energy Commission (CEC).  All amendments must be filed with the California Building Standards Commission.

Jurisdictions may wish to modify elements of the ordinance, such as those marked with the text “[Optional]”.  When modifying the language, ensure all references are maintained and that the ordinance still meets the CEC requirements. Also, edit the Purpose section to reflect the changes.

The headings, footnotes and instructions (in blue) are for staff reference and should be removed from the final ordinance.

The draft ordinance text and CEQA determination language are provided as examples only.  Ensure all ordinance materials are reviewed and verified by relevant jurisdiction staff and the city/county attorney.

## Reach Code for Existing Single Family Buildings

ORDINANCE AMENDING THE [CITY/COUNTY OF JURISDICTION] BUILDING CODE TO REQUIRE HIGHER ENERGY PERFORMANCE FOR CERTAIN SINGLE FAMILY PROJECTS

DELETE ALL BLUE TEXT AND FOOTNOTES

## Findings

## Amendments to the State Building Code require jurisdictions to make certain express findings; additional findings are required to support amendments to the State Energy Code. Refer to Guide for Local Amendments of Building Standards 2022 for more information. Required findings include:

## A declaration of the authorities granted by the State to the jurisdiction to amend the code, which include:

  - Health and Safety Code sections 17958.7 and 18941.5

  - Public Resources Code Section 25402.1(h)(2)

  - Section 10-106 of the Building Energy Efficiency Standards

- A determination that the amendments are reasonably necessary to address local climatic, geological, or topographical conditions

## A determination that the proposed standards are cost-effective and a reference to the supporting analysis

- A declaration that the jurisdiction has at a public meeting, adopted its determination that the standards are cost-effective

- A determination that the proposed standards are more stringent than the State Energy Code and that they will require buildings to be designed to consume less energy than permitted by the State Energy Code

## Any findings, determinations, declarations, or reports, including any negative declaration or environmental impact report, required pursuant to the California Environmental Quality Act

## Sample Amendments

Section 1: Amendments

The California Building Code, Title 24, Part 6, adopted by the [City/County of jurisdiction] codified under Chapter [municipal/county code reference (if not adopted in entirety, include local code references for each section)], is amended as specified below. Strikeouts and underlines indicate modifications to the State code.

### Purpose

Section 100.0 is modified to add a new section (i) as follows:

- Single Family Building Remodel Energy Reach Code - Purpose and Intent.

- In addition to all requirements of the California Energy Code applicable to Single Family building additions and alterations, the energy efficiency and renewable energy measures specified in Section 150.0(w) shall be required for Covered Single Family Projects.

### Definitions

Section 100.1(b) is modified by adding the following definition:

COVERED SINGLE FAMILY PROJECT shall mean…

The definition of a “Covered Single Family Project” is at the discretion of the local jurisdiction.  A few options are offered below in Attachment 1.

### Requirements

The first two paragraphs of Section 150.0 SINGLE-FAMILY RESIDENTIAL BUILDINGS – MANDATORY FEATURES AND DEVICES are modified to read as follows:

Single-family residential buildings shall comply with the applicable requirements of Sections 150(a) through 150.0(v); in addition, Covered Single Family Projects shall comply with the applicable requirements of Section 150.0(w).

NOTE: The requirements of Sections 150.0(a) through 150.0(v) apply to newly constructed buildings. Sections 150.2(a) and 150.2(b) specify which requirements of Sections 150.0(a) through 150.0(rv) also apply to additions or alterations, with the exception that Covered Single Family Projects shall also be required to comply with Section 150.0(w).

A new Section, (w), is added to Section 150.0 as follows:

A Covered Single Family Project shall install a set of measures based on the building vintage from the Measure Menu Table, Table 150.0-J, [add reference to table(s) for additional climate zones, if applicable) to achieve a total Measure Point Score that is equal to or greater than the Target Score in Table 150.0-I [add reference to table(s) for additional climate zones, if applicable).  In addition, all mandatory measures listed in Table 150.0-J shall be installed.  Measure verification shall be explicitly included as an addendum to the Certificate of Compliance to be filed pursuant to 2022 Title 24, Part 6, Section 10-103.  Installed measures shall meet the specifications in Table 150.0-K.

Building vintage is the year in which the original construction permit for the building was submitted, as documented by building department records, or the permit issue date of an addition or alteration that satisfied the Performance Standards (California Energy Code, Title 24, Part 6, Section 150.1(b)) that were in effect at that time. Unless otherwise specified, the requirements shall apply to the entire dwelling unit, not just the additional or altered portion.  Measures from the Measure Menu table that already exist in the home may be counted towards compliance with these requirements. Measures from the Measure Menu table that are to be installed to satisfy requirements under the California Energy Code, Title 24, Part 6, may not count towards compliance with these requirements.  Where these requirements conflict with other California Energy Code requirements, the stricter requirements shall prevail.

Exception 1 to Section 150.0(w): If the applicant demonstrates that the Energy Budget of the Proposed Building Design would be less than or equal to the Energy Budget of the building under the project if it included any set of measures that would achieve compliance under this Section 150.0(w).

Exception 2 to Section 150.0(w): Mobile Homes, Manufactured Housing, or Factory-built Housing as defined in Division 13 of the California Health and Safety 12 Code (commencing with Section 17000 of the Health and Safety Code).

Exception 3 to Section 150.0(w): Due to conditions specific to the project, it is technically or economically infeasible to achieve compliance, the Building Administrator may reduce the Target Score and/or waive some or all of the mandatory requirements. [See exceptions form for guidance]

Exception 4 to Section 150.0(w): A measure that is necessary for compliance is prohibited because of a covenant or other deed restriction on the property, such as a homeowners association covenant.

See Attachment 2 for optional exceptions.

- [Use the Cost-Effectiveness Explorer to generate customized tables to replace the sample tables below. If there is more than one climate zone in the jurisdiction add a second table 150.0-J(CZ-xx). Options: Define a separate Target Score for smaller projects. Limit the scope to specific vintages or combine vintages and use values for the newest vintage.]

Table 150.0-I: Target Scores

| Building Vintage | Pre-1978 | 1978-1991 | 1992-2010 |
| --- | --- | --- | --- |
| Climate Zone [XX] |  |  |  |
| Climate Zone [YY] |  |  |  |

Table 150.0-J[-CZxx]: Measure Menu, Climate Zone [XX]

| ID | Measures | Building Vintage |  |  |
| --- | --- | --- | --- | --- |
|  |  | Pre-1978 | 1978-1991 | 1992-2010 |
| E1 | Lighting Measures | Mandatory |  |  |
| E2 | Water Heating Package |  |  | Insert values from Cost Effectiveness Explorer |
| E3 | Air Sealing |  |  |  |
| E4.A | R-38 Attic Insulation |  |  |  |
| E4.B | R-49 Attic Insulation |  |  |  |
| E5 | Duct Sealing |  |  |  |
| E6.A | New Ducts, R-6 Insulation + Duct Sealing |  |  |  |
| E6.B | New Ducts, R-8 Insulation + Duct Sealing |  |  |  |
| E7 | Windows |  |  |  |
| E8 | Wall Insulation |  |  |  |
| E10.A | R-19 Raised floor insulation |  |  |  |
| E10.B | R-30 Raised floor insulation |  |  |  |
| E11 | Cool Roof |  |  |  |
| E12 | Radiant Barrier Under Roof |  |  |  |
| FS1 | Heat Pump Water Heater Replacing Gas |  |  |  |
| FS2 | High Eff. Heat Pump Water Heater Replacing Gas |  |  |  |
| FS3 | Heat Pump Water Heater Replacing Electric |  |  |  |
| FS4 | High Eff. Heat Pump Water Heater Replacing Electric |  |  |  |
| FS5 | Heat Pump Space Conditioning System |  |  |  |
| FS6 | High Eff. Heat Pump Space Conditioning System |  |  |  |
| FS7 | Dual Fuel Heat Pump Space Conditioning System |  |  |  |
| FS8 | Heat Pump Clothes Dryer |  |  |  |
| FS9 | Induction Cooktop |  |  |  |
| FS10 | All-Electric Home |  |  |  |
| PV | Solar PV |  |  |  |
| ER1 | Electric-Readiness – Service Upgrade [Optional] | Mandatory (see Note 2 below) |  |  |
| ER2 | Electric-Readiness – End Uses [Optional] | Mandatory (see Note 3 below) |  |  |

- Notes to Table 150.0-J

- Note 1: Cool Roof (Measure E11) and Radiant Barrier (Measure E12) required when replacing 50% or more of an existing roof.

- Note 2: Electric Readiness Service Upgrade (Measure ER1) required to claim Solar PV credit.

- Note 3: Electric Readiness – End Uses (Measure ER2) required for the following project scopes:

- If the service panel is being upgraded or to claim the Solar PV credit, satisfy any one [or two] of the electric-readiness measures from ER2 in Table 150.0-K.

- If the kitchen is being remodeled, make the range electric ready as specified in ER2, Item D in Table 150.0-K and upgrade the panel board as specified under ER1 in Table 150.0-K. Exception: If an electrical permit is not otherwise required for the project other than compliance with this Item.

- If the laundry room is being remodeled, make the dryer electric ready as specified in ER2, Item C in Table 150.0-K and upgrade the panel board as specified under ER1 in Table 150.0-K. Exception: If an electrical permit is not otherwise required for the project other than compliance with this Item.

The measures in the Measure Menu table shall conform to the specifications in Table 150.0-K. [Delete measures from the table that are not in the Measure Menu].

Table 150.0-K: Measure Specifications

| ID | Measure Specification |
| --- | --- |
| Energy Measures |  |
| E1 | Lighting Measures – Replace all interior and exterior screw-in incandescent, halogen, and compact fluorescent lamps with LED lamps. Install photocell controls on all exterior lighting luminaires. |
| E2 | Water Heating Package: Insulate all accessible hot water pipes with pipe insulation a minimum of ¾ inch thick. This includes insulating the supply pipe leaving the water heater, piping to faucets underneath sinks, and accessible pipes in attic spaces or crawlspaces. Upgrade fittings in sinks and showers to meet current California Green Building Standards Code (Title 24, Part 11) Section 4.303 water efficiency requirements. Exception: Upgraded fixtures are not required if existing fixtures have rated or measured flow rates of no more than ten percent greater than 2022 California Green Building Standards Code (Title 24, Part 11) Section 4.303 water efficiency requirements. |
| E3 | Air Sealing: Seal all accessible cracks, holes, and gaps in the building envelope at walls, floors, and ceilings. Pay special attention to penetrations including plumbing, electrical, and mechanical vents, recessed can light luminaires, and windows. Weather-strip doors if not already present. Verification shall be conducted following a prescriptive checklist that outlines which building aspects need to be addressed by the permit applicant and verified by an inspector. Compliance can also be demonstrated with blower door testing conducted by a certified HERS Rater no more than three years prior to the permit application date that either: a) shows at least a 30 percent reduction from pre-retrofit conditions; or b) shows that the number of air changes per hour at 50 Pascals pressure difference (ACH50) does not exceed ten for Pre-1978 vintage buildings, seven for 1978 to 1991 vintage buildings and five for 1992-2010 vintage buildings. If combustion appliances are located within the pressure boundary of the building, conduct a combustion safety test by a professional certified by the Building Performance Institute in accordance with the ANSI/BPI-1200-S-2017 Standard Practice for Basic Analysis of Buildings, the Whole House Combustion Appliance Safety Test Procedure for the Comfortable Home Rebates Program 2020 or the California Community Services and Development Combustion Appliance Safety Testing Protocol. |
| E4.A | R-38 Attic Insulation: Attic insulation shall be installed to achieve a weighted assembly U-factor of 0.025 or insulation installed at the ceiling level shall have a thermal resistance of R-38 or greater for the insulation alone. Recessed downlight luminaires in the ceiling shall be covered with insulation to the same depth as the rest of the ceiling. Luminaires not rated for insulation contact must be replaced or fitted with a fire-proof cover that allows for insulation to be installed directly over the cover. Exception: In buildings where existing R-30 is present and existing recessed downlight luminaires are not rated for insulation contact, insulation is not required to be installed over the luminaires. |
| E4.B | R-49 Attic Insulation: Attic insulation shall be installed to achieve a weighted assembly U-factor of 0.020 or insulation installed at the ceiling level shall have a thermal resistance of R-49 or greater for the insulation alone. Recessed downlight luminaires in the ceiling shall be covered with insulation to the same depth as the rest of the ceiling. Luminaires not rated for insulation contact must be replaced or fitted with a fire-proof cover that allows for insulation to be installed directly over the cover. Exception: In buildings where existing R-30 is present and existing recessed downlight luminaires are not rated for insulation contact, insulation is not required to be installed over the luminaires. |
| E5 | Duct Sealing: Air seal all space conditioning ductwork to meet the requirements of the 2022 Title 24, Part 6, Section 150.2(b)1E. The duct system must be tested by a HERS Rater no more than three years prior to the Covered Single Family Project permit application date to verify the duct sealing and confirm that the requirements have been met. This measure may not be combined with the New Ducts and Duct Sealing measure in this Table. Exception: Buildings without ductwork or where the ducts are in conditioned space. |
| E6.A | New Ducts, R-6 insulation + Duct Sealing: Replace existing space conditioning ductwork with new R-6 ducts that meet the requirements of 2022 Title 24 Section 150.0(m)11. This measure may not be combined with the Duct Sealing measure in this Table. To qualify, a preexisting measure must have been installed no more than three years before the Covered Single Family Project permit application date. |
| E6.B | New Ducts, R-8 insulation + Duct Sealing: Replace existing space conditioning ductwork with new R-8 ducts that meet the requirements of 2022 Title 24 Section 150.0(m)11. This measure may not be combined with the Duct Sealing measure in this Table. To qualify, a preexisting measure must have been installed no more than three years before the Covered Single Family Project permit application date. |
| E7 | Windows: Replace at least 50% of existing windows with high performance windows with an area-weighted average U-factor no greater than 0.30. |
| E8 | R-13 Wall Insulation: Install wall insulation in all exterior walls to achieve a weighted U-factor of 0.102 or install wall insulation in all exterior wall cavities that shall result in an installed thermal resistance of R-13 or greater for the insulation alone. |
| E9 | Reserved for future use |
| E10.A | R-19 Floor Insulation: Raised-floors shall be insulated such that the floor assembly has an assembly U-factor equal to or less than U-0.037, or shall be insulated between wood framing with insulation having an R-value equal to or greater than R-19. |
| E10.B | R-30 Floor Insulation: Raised-floors shall be insulated such that the floor assembly has an assembly U-factor equal to or less than U-0.028, or shall be insulated between wood framing with insulation having an R-value equal to or greater than R-30. |
| E11 | Cool Roof: Install a cool roof on at least 50% of the roof area. For steep-sloped roofs (ratio of rise to run greater than 2:12) install a roofing product rated by the Cool Roof Rating Council to have an aged solar reflectance equal to or greater than 0.20 [Option climate zones 1, 2, 3, 5, 6, 7, 16 - 0.25], and a thermal emittance equal to or greater than 0.75. For low-sloped roofs, install a roofing product meeting the requirements of Section150.2(b)1Iiia, and insulate the roof in accordance with Section 150.2(b)1Iiib. Exceptions for Cool Roof as a mandatory requirement: All exceptions as stated in the 2022 Title 24 Section 150.2(b)1Ii for steep-sloped roofs and 150.2(b)1Iiia for low-sloped roofs are allowed. |
| Fuel Substitution Measures |  |
| FS1 | Heat Pump Water Heater (HPWH) Replacing Gas: Replace existing natural gas water heater with a heat pump water heater. |
| FS2 | High Efficiency Heat Pump Water Heater (HPWH) Replacing Gas: Replace existing natural gas water heater with heat pump water heater with a Northwest Energy Efficiency Alliance (NEEA) Tier 3 or higher rating. |
| FS3 | Heat Pump Water Heater (HPWH) Replacing Electric: Replace existing electric resistance water heater with a heat pump water heater. |
| FS4 | High Efficiency Heat Pump Water Heater (HPWH) Replacing Electric: Replace existing electric resistance water heater with heat pump water heater with a Northwest Energy Efficiency Alliance (NEEA) Tier 3 or higher rating. |
| FS5 | Heat Pump Space Conditioning System: Replace all existing gas and electric resistance primary space heating systems with an electric-only heat pump system. |
| FS6 | High Efficiency Heat Pump Space Conditioning System: Replace all existing gas and electric resistance primary space heating systems with one of the following: - A ducted electric-only heat pump system with a SEER2 rating of 16.5 or greater, an EER2 rating of 12.48 or greater and an HSPF2 rating of 9.5 or greater; or - A ductless mini-split heat pump system with a SEER2 rating of 14.3 or greater, an EER2 rating of 11.7 or greater and an HSPF2 rating of 7.5 or greater |
| FS7 | Dual Fuel Heat Pump Space Conditioning System: Either - Replace all existing gas and electric resistance primary heating systems with a hybrid gas and electric heat pump system, or - Install an electric-heat pump system in tandem with a gas furnace and install controls to operate the heat pump to use the existing gas furnace for backup heat only. |
| FS8 | Heat Pump Clothes Dryer: Replace existing electric resistance clothes dryer with heat pump dryer with no resistance element and cap gas line. |
| FS9 | Induction Cooktop: Replace all existing gas and electric resistance stove tops with inductive stove top and cap the gas line. |
| FS10 | All-Electric Home: Replace all gas appliances with electric appliances that meet the standards in this table. |
| Solar PV and Electric-Readiness Measures |  |
| PV | Solar PV + Electric Ready Pre-Wire: Install a solar PV system that meets the requirements of Section 150.1(c)14. In addition, upgrade the panelboard to meet the requirements of Item ER1 in this Table and install any one [or two] other measures from Item ER2. |
| ER1 | Electric Readiness - Service Upgrade. Upgrade the panelboard serving the individual dwelling unit to provide circuit breaker spaces for a heat pump water heater, heat pump space conditioning system, electric cooktop and electric clothes dryer with the capacities specified in Section 150.0 (n), (t), (u) and (v); or, provide electrical load calculations and appliance specifications for serving all of these end-uses with a minimum 100-amp panel. |
| ER2 | Electric Readiness - End Uses. Meet the requirements below, that otherwise apply to newly constructed buildings: A. Heat Pump Water Heater Ready, as specified in Section 150.0(n)1. B. Heat Pump Space Conditioning System Ready, as specified in Section 150.0(t). C. Electric Cooktop Ready, as specified in Section 150.0(u). D. Electric Clothes Dryer Ready, as specified in Section 150.0(v). E. Energy Storage Systems (ESS) Ready, as specified in Section 150.0(s). F. EV Charger Ready. Install a dedicated 208/240-volt branch circuit as specified in the California Green Building Code, Title 24, Part 11, Section A4.106.8.1,which otherwise applies to new construction. |

## Other Sample Ordinance Sections

Section 2: CEQA

This ordinance is exempt from CEQA under 15061(b)(3) on the grounds that these standards are more stringent than the State energy standards, there are no reasonably foreseeable adverse impacts and there is no possibility that the activity in question may have a significant effect on the environment.

Section 3: Severability

If any word, phrase sentence part, section, subsection or other portion of this amendment or any application thereof to any person or circumstance is declared void, unconstitutional, or invalid for any reason, then such word, phrase, sentence, part, section, subsection, or other portion, or the prescribed application thereof, shall be severable, and the remaining provisions of this amendment, and all applications thereof, not having been declared void, unconstitutional or invalid, shall remain in full force and effect.  The [name of governing body] hereby declares that it would have passed this amendment and each section, subsection sentence, clause and phrase of this amendment, irrespective of the fact that any one or more sections, subsection, sentences, clauses or phrases is declared invalid or unconstitutional.

Section 4: Violations

Violation of the requirements of this Chapter shall be considered an infraction of the [jurisdiction Municipal/County Code], punishable by all the sanctions prescribed in [cite local reference to infractions].

Section 5: Effective Date

This ordinance shall become effective as of [DATE], upon approval of the California Energy Commission or upon the date the California Building Standards Commission (CBSC) accepts the ordinance for filing, whichever is later.

## Attachment 1

The definition of a “Covered Single Family Project” is at the discretion of the local jurisdiction.  A few options are offered below.  Building/permitting staff should be consulted in this process.  It is important to consider the definition in conjunction with the requirement level (the Target Score) to ensure that the requirements are appropriate for the scope of the project.  In this respect, jurisdictions may wish to establish different levels of Covered Single Family Projects (by valuation, square footage, etc.) and have different target scores for each.  It is also important to consider how certain triggers (e.g., modification of HVAC) might impact permit applications.  The term Single Family may need to be narrowed to conform to local usage.

COVERED SINGLE FAMILY PROJECT shall mean

[Option 1]

… any project in a Single Family residential building originally permitted for construction before 2011 that requires an electrical permit, a mechanical permit and a plumbing permit, with the exception of projects with a total valuation of less than $XX,XXX [specify value]. A Covered Single Family Project shall not include a project that is considered to be a newly constructed building under the California Energy Code, Title 24, Part 6.

[Option 2]

… the addition, of any size or value, to a Single Family residential building originally permitted for construction before 2011, or alteration of such a structure with a building permit valuation of $25,000 [or other value] or higher.  [Option: “The valuation shall include the sum of all addition or alteration permits issued within the past three years, except that additions or alterations made prior to the initial adoption of this ordinance shall not be counted.”] A Covered Single Family Project shall not include a project that is considered to be a newly constructed building under the California Energy Code, Title 24, Part 6.

[Option 3]

…a Single Family residential project in a building originally permitted for construction before 2011 with a building permit valuation of $25,000 [or other value] or higher and that includes any of the following: 1. Any additions, or any change, rearrangement or addition, other than a repair, of the structural elements of an existing building including foundations, footing, sub-floors, lintels, beams, columns, girders, slabs, roof trusses, staircases, load bearing walls, door frames, window frames, or any other part of the building that resists force or moment. 2. Change or rearrangement of the plan configuration of walls and full-height partitions of an existing building. 3. Modification of the electrical system, heating or cooling equipment or gas plumbing.  [Option: “The valuation shall include the sum of all addition or alteration permits issued within the past three years, except that additions or alterations made prior to the initial adoption of this ordinance shall not be counted.”] A Covered Single Family Project shall not include a project that is considered to be a newly constructed building under the California Energy Code, Title 24, Part 6.

[Option 4. If using this definition, it is recommended to include the optional exception capping the expenditure at 20% (or some other value)]

…the addition, alteration, or remodel of a Single Family residential building originally permitted for construction before 2011 or the alteration to such a structure [Option: “, performed within any three (3) year period, except that additions or alterations made prior to the initial adoption of this ordinance shall not be counted.”] that affects a floor area which exceeds twenty percent (20%) [or other value] of the existing floor area of the structure, or has a combined valuation of $25,000 [or other value] or more. When any changes are made in the building, such as walls, columns, beams or girders, floor or ceiling joists and coverings (subfloor and drywall), roof rafters, roof diaphragms, foundations, piles or retaining walls or similar components, the floor area of all rooms affected by such changes shall be included in computing floor areas for purposes of applying this definition. This definition does not apply to project scopes that are solely limited to any of the following: the replacement and upgrading of residential roof coverings, exterior wall finishes and/or floor finishes; alterations that add no more than 75 square feet of fenestration; alterations that add no more than 16 square feet of skylight area with a maximum U-factor of 0.55 and a maximum SHGC of 0.30; alterations that are limited to providing access for persons with disabilities; and additions of 300 [or other amount] square feet or less.  A Covered Single Family Project shall not include a project that is considered to be a newly constructed building under the California Energy Code, Title 24, Part 6.

## Attachment 2

The exceptions below are optional and may be included at the discretion of the jurisdiction.

Exception x to Section 150.0(w): A Covered Single Family Project that is limited solely to a newly created attached Accessory Dwelling Unit (ADU) or Junior Accessory Dwelling Unit (JADU). A newly created ADU and JADU shall include either additions or conversions of existing space. Note, this exception does not apply to a Covered Single Family Project of an existing ADU or JADU.

Exception x to Section 150.0(w): Expenditures of more than 20% [or other amount] of the project valuation.  If the least-cost set of measures that would be required for compliance exceeds 20% [or other amount] of the total project valuation, the Target Score may be reduced by subtracting the points associated with the lowest cost measures first, until the cost of the remaining measures does not exceed 20% [or other amount] of the project valuation.  The project valuation shall exclude any measures that are required under this Section but shall include all measures that are otherwise required under the State Energy Code, Title 24, Part 6. [This exception is recommended if the definition of Covered Single Family Project does not include a valuation.]

Exception x to Section 150.0(w): [Option 1] Expenditures of more than 10% [or other amount] of the project valuation for a resident owner(s) or owner(s) of a residence occupied by a dependent that can demonstrate that they qualify as a low-income utility customer by being eligible for the California Alternative Rates for Energy (CARE) [or other criterion]. If the least-cost set of measures that would be required for compliance exceeds 10% [or other amount] of the total project valuation, the Target Score may be reduced by subtracting the points associated with the lowest cost measures first, until the cost of the remaining measures does not exceed 10% [or other amount] of the project valuation.  The project valuation shall exclude any measures that are required under this Section but shall include all measures that are otherwise required under the State Energy Code, Title 24, Part 6. [This exception is recommended if the definition of Covered Single Family Project does not include a valuation.]

[Option 2]  An applicant who resides in the dwelling unit and qualifies as a low-income utility customer, or is the owner of the dwelling unit which is occupied by a dependent who qualifies as a low-income utility customer, may comply by either a) installing the duct sealing measure, the lighting measure and water heating package, or b) installing at least 1 kW of solar PV that meets the requirements of 2022 Title 24 Reference Appendix JA11. A low-income utility customer is anyone who is eligible for the California Alternative Rates for Energy (CARE) or Family Electric Rate Assistance Program (FERA) program [or other criterion].

Exception x to Section 150.0(w):  A Covered Single Family Project, other than an addition, that would not otherwise be subject to this section 150.0(w) but for installation of solar PV, solar water heating, EV charging, electrical upgrades for solar PV or EV charging, or energy storage.

Exception x to Section 150.0(w): A Covered Single Family Project that consists solely of medically necessary improvements or solely of seismic safety improvements.

Template available at localenergycodes.com

Carlsbad = $60,000. Piedmont: $25,000 requires 1 measure; $100,000 requires 2 measures.